## Slide 1: 2022 ANNUAL REPORT SUMMARY
Making Michigan the best place in the world to have a joint replacement

## Slide 2: MARCQI ANNUAL REPORT
This deck summarizes only what is new in this year’s report
Data on many more implants are available in the full report that can be accessed using this QR code:

## Slide 3: HIP 2-PAGE SUMMARY

## Slide 4: MEANING OF GRAY BARS

## Slide 5: NEW THA IMPLANT COMBINATIONS THIS YEAR
Anthology/PolarCup
Avenir Muller/G7
Avenir/G7

## Slide 6: ANTHOLOGY/POLARCUP
2023 MARCQI ANNUAL REPORT p. 34
Adjusting for age and sex in a Cox model,
the hazard ratio for implant effect
is not statistically significant.

## Slide 7: AVENIR/G7
2023 MARCQI ANNUAL REPORT p. 38
Adjusting for age and sex in a Cox model,
the hazard ratio for implant effect
is not statistically significant.

## Slide 8: AVENIR MULLER/G7
Cannot compute hazard ratio because
data do not meet assumptions of method.
2023 MARCQI ANNUAL REPORT p. 42

## Slide 9: STEM/CUP COMBINATNONS – CPR ABOVE OR BELOW OVERALL?

## Slide 10: THA COMBINATIONS WITH 95% CI BELOW MARCQI OVERALL (2.49%)
MARCQI Overall (2.49%)

## Slide 11: THA COMBINATIONS WITH 95% CI ABOVE MARCQI OVERALL (2.49%)
MARCQI Overall (2.49%)

## Slide 12: NEW THA STEMS THIS YEAR
Avenir
Accolade C
Integral X
Wagner Cone
Versys Advocate

## Slide 13: ACCOLADE C
2023 MARCQI ANNUAL REPORT p. 96
Adjusting for age and sex in a Cox model,
the hazard ratio for implant effect
is not statistically significant.

## Slide 14: AVENIR
2023 MARCQI ANNUAL REPORT p. 108
Adjusting for age and sex in a Cox model,
the hazard ratio for implant effect
is statistically significantly lower than 1.0.

## Slide 15: AVENIR
2023 MARCQI ANNUAL REPORT - NOT INCLUDED
UNCEMENTED
CEMENTED

## Slide 16: INTEGRAL X
2023 MARCQI ANNUAL REPORT p. 122
Adjusting for age and sex in a Cox model,
the hazard ratio for implant effect
is not statistically significant.

## Slide 17: VERSYS ADVOCATE
2023 MARCQI ANNUAL REPORT p. 152
Adjusting for age and sex in a Cox model,
the hazard ratio for implant effect
is not statistically significant.

## Slide 18: WAGNER CONE
2023 MARCQI ANNUAL REPORT p. 154
Adjusting for age and sex in a Cox model,
the hazard ratio for implant effect
is statistically significantly higher than 1.0.

## Slide 19: STEMS – CPR ABOVE OR BELOW OVERALL?

## Slide 20: THA STEMS WITH 95% CI BELOW MARCQI OVERALL (2.49%)
MARCQI Overall (2.49%)

## Slide 21: THA STEMS WITH 95% CI ABOVE MARCQI OVERALL (2.49%)
MARCQI Overall (2.49%)

## Slide 22: NEW THA CUPS THIS YEAR
PolarCup
Procotyl Prime

## Slide 23: POLARCUP
2023 MARCQI ANNUAL REPORT p. 165
Adjusting for age and sex in a Cox model,
the hazard ratio for implant effect
is not statistically significant.

## Slide 24: PROCOTYL PRIME
2023 MARCQI ANNUAL REPORT p. 167
Adjusting for age and sex in a Cox model,
the hazard ratio for implant effect
is not statistically significant.

## Slide 25: CUPS – CPR ABOVE OR BELOW OVERALL?

## Slide 26: THA CUPS WITH 95% CI BELOW MARCQI OVERALL (2.49%)
Upper 95% confidence interval is 2.49%, right at
MARCQI overall
MARCQI Overall (2.49%)

## Slide 27: THA CUPS WITH 95% CI ABOVE MARCQI OVERALL (2.49%)
MARCQI Overall (2.49%)

## Slide 28: KNEE 2-PAGE SUMMARY

## Slide 29: NEW TKA SYSTEMS THIS YEAR
iBalance/iBalance
NexGen Precoat/NexGen Precoat

## Slide 30: NEXGEN PRECOAT/NEXGEN PRECOAT
2023 MARCQI ANNUAL REPORT p. 240
Adjusting for age and sex in a Cox model,
the hazard ratio for implant effect
is statistically significantly lower than 1.0.

## Slide 31: iBALANCE/iBALANCE
2023 MARCQI ANNUAL REPORT p. 213
Adjusting for age and sex in a Cox model,
the hazard ratio for implant effect
is statistically significantly higher than 1.0.
Caution: Median number of cases per surgeon is 2

## Slide 32: THA CPR ABOVE OR BELOW OVERALL?

## Slide 33: TKA COMBINATIONS WITH 95% CI BELOW MARCQI (2.71%)
MARCQI Overall (2.71%)

## Slide 34: TKA COMBINATIONS WITH 95% CI ABOVE MARCQI (2.71%)
MARCQI Overall (2.71%)

## Slide 35: UKA PAGE OF 2-PAGE KNEE SUMMARY
No new implants
added this year

## Slide 36: UKA COMBINATIONS WITH 95% CI BELOW MARCQI OVERALL
Below MARCQI TKA
overall (2.71%)
None
Below MARCQI UKA
overall (4.74%)
Persona/Persona
Restoris MCK/Restoris MCK
ZUK/ZUK

## Slide 37: UKA COMBINATIONS WITH 95% CI ABOVE MARCQI OVERALL
Above MARCQI TKA
overall (2.71%)
ZUK/ZUK
Restoris MCK/Restoris MCK
Oxford/Oxford
Above MARCQI UKA
overall (4.74%)
Oxford/Oxford